## Template (hidden)
Item
Packaging
Item description
Sampling |  | Number Analyzed:
Notes
Method of Analysis
Color Test
Method
Results
Comments
Microcrystalline
Method
Results
Comments
Tablet ID
Imprint
Source
Results
Comments
Macroscopic / Microscopic Plant Characteristics
Comments
Infrared
Method
Comments
Results
Comments
GC-MS
Method
Comments
Run Solvent
Results
Comments
Additional Information
Notes
Results
Results
N | Item # | Weight Rec'd (g) | Weight Ret'd (g) | Ufinal = √N x Ubalance
1 |  |  |  | Where:
Ufinal = Final uncertainty for the measurement process
Ubalance = Total Expanded Uncertainty for the balance
Coverage Factor (K)=3 for a 99.7% confidence interval
[5 empty] | Net weight of material received (g) = | 0
[5 empty] | Net weight of material returned (g) = | 0
[5 empty] | N= | 1
[5 empty] | Ubalance (g) = | 0.05
[5 empty] | Ufinal (g) = | 0.05
Cocaine Base - Schedule II. | 1 | 1 | Cocaine Base - Schedule II.
Cocaine Hydrochloride - Schedule II. | 1 | 2 | Cocaine Hydrochloride - Schedule II.
Fentanyl - Schedule II. | 1 | 3 | Fentanyl - Schedule II.
Heroin - Schedule I. | 1 | 4 | Heroin - Schedule I.
Marijuana - Schedule VI. | 1 | 5 | Marijuana - Schedule VI.
Methamphetamine - Schedule II. | 1 | 6 | Methamphetamine - Schedule II.
No Chemical Analysis. | 1 | 7 | No Chemical Analysis.
No Controlled Substances Identified. | 1 | 8 | No Controlled Substances Identified.
1-Piperidinocyclohexanecarbonitrile (PCC) - Schedule II. | 1 | 9 | 1-Piperidinocyclohexanecarbonitrile (PCC) - Schedule II.
2,5-Dimethoxy-4-chlorophenethylamine (2C-C), the chemical structure of which is substantially similar to the chemical structure of 4-Bromo-2,5-Dimethoxyphenethylamine (2C-B), a Schedule I controlled substance. | 1 | 10 | 2,5-Dimethoxy-4-chlorophenethylamine (2C-C), the chemical structure of which is substantially similar to the chemical structure of 4-Bromo-2,5-Dimethoxyphenethylamine (2C-B), a Schedule I controlled substance.
2,5-Dimethoxyamphetamine (2,5-DMA) - Schedule I. | 1 | 11 | 2,5-Dimethoxyamphetamine (2,5-DMA) - Schedule I.
25B-NBOMe - Schedule I. | 1 | 12 | 25B-NBOMe - Schedule I.
25C-NBOMe - Schedule I. | 1 | 13 | 25C-NBOMe - Schedule I.
25D-NBOMe - Schedule I. | 1 | 14 | 25D-NBOMe - Schedule I.
25E-NBOMe - Schedule I. | 1 | 15 | 25E-NBOMe - Schedule I.
25G-NBOMe - Schedule I. | 1 | 16 | 25G-NBOMe - Schedule I.
25H-NBOMe - Schedule I. | 1 | 17 | 25H-NBOMe - Schedule I.
25I-NBOMe - Schedule I. | 1 | 18 | 25I-NBOMe - Schedule I.
25N-NBOMe - Schedule I. | 1 | 19 | 25N-NBOMe - Schedule I.
25P-NBOMe - Schedule I. | 1 | 20 | 25P-NBOMe - Schedule I.
25T2-NBOMe - Schedule I. | 1 | 21 | 25T2-NBOMe - Schedule I.
25T4-NBOMe - Schedule I. | 1 | 22 | 25T4-NBOMe - Schedule I.
25T7-NBOMe - Schedule I. | 1 | 23 | 25T7-NBOMe - Schedule I.
2-Chloroethcathinone (2-CEC) - Schedule I Substituted Cathinone. | 1 | 24 | 2-Chloroethcathinone (2-CEC) - Schedule I Substituted Cathinone.
2-Fluoroethcathinone (2-FEC) - Schedule I Substituted Cathinone. | 1 | 25 | 2-Fluoroethcathinone (2-FEC) - Schedule I Substituted Cathinone.
2-Fluorofentanyl (ortho-fluorofentanyl) - Schedule I Fentanyl Derivative. | 1 | 26 | 2-Fluorofentanyl (ortho-fluorofentanyl) - Schedule I Fentanyl Derivative.
2-Methoxymethcathinone (2-MeO-MC) - Schedule I Substituted Cathinone. | 1 | 27 | 2-Methoxymethcathinone (2-MeO-MC) - Schedule I Substituted Cathinone.
2-Methylethcathinone (2-MEC) - Schedule I Substituted Cathinone. | 1 | 28 | 2-Methylethcathinone (2-MEC) - Schedule I Substituted Cathinone.
2-Methylmethcathinone (2-MMC) - Schedule I Substituted Cathinone. | 1 | 29 | 2-Methylmethcathinone (2-MMC) - Schedule I Substituted Cathinone.
3,4-dichloro-N-[2-(dimethylamino)cyclohexyl]-N-isopropylbenzamide (Isopropyl U47700), the chemical structure of which is substantially similar to the chemical structure of U47700, a Schedule I controlled substance. | 1 | 30 | 3,4-dichloro-N-[2-(dimethylamino)cyclohexyl]-N-isopropylbenzamide (Isopropyl U47700), the chemical structure of which is substantially similar to the chemical structure of U47700, a Schedule I controlled substance.
3,4-Dimethylmethcathinone (3,4-DMMC) - Schedule I Substituted Cathinone. | 1 | 31 | 3,4-Dimethylmethcathinone (3,4-DMMC) - Schedule I Substituted Cathinone.
3,4-Methylenedioxyamphetamine (MDA) - Schedule I. | 1 | 32 | 3,4-Methylenedioxyamphetamine (MDA) - Schedule I.
3,4-Methylenedioxymethamphetamine (MDMA) - Schedule I. | 1 | 33 | 3,4-Methylenedioxymethamphetamine (MDMA) - Schedule I.
3,4-Methylenedioxypyrovalerone (MDPV) - Schedule I. | 1 | 34 | 3,4-Methylenedioxypyrovalerone (MDPV) - Schedule I.
3,4-Methylenedioxy-α-Pyrrolidinohexanophenone (3,4-MDPHP) - Schedule I Substituted Cathinone. . | 1 | 35 | 3,4-Methylenedioxy-α-Pyrrolidinohexanophenone (3,4-MDPHP) - Schedule I Substituted Cathinone. .
3-Chloroethcathinone (3-CEC) - Schedule I Substituted Cathinone. | 1 | 36 | 3-Chloroethcathinone (3-CEC) - Schedule I Substituted Cathinone.
3-Chloromethcathinone (3-CMC) - Schedule I Substituted Cathinone. | 1 | 37 | 3-Chloromethcathinone (3-CMC) - Schedule I Substituted Cathinone.
3-desoxy-3,4-Methylenedioxy Pyrovalerone (3-desoxy-3,4-MDPV) - Schedule I Substituted Cathinone. | 1 | 38 | 3-desoxy-3,4-Methylenedioxy Pyrovalerone (3-desoxy-3,4-MDPV) - Schedule I Substituted Cathinone.
3-Ethylethcathinone (3-EEC) - Schedule I Substituted Cathinone. | 1 | 39 | 3-Ethylethcathinone (3-EEC) - Schedule I Substituted Cathinone.
3-Ethylmethcathinone (3-EMC) - Schedule I Substituted Cathinone. | 1 | 40 | 3-Ethylmethcathinone (3-EMC) - Schedule I Substituted Cathinone.
3-Fluorofentanyl - Schedule I Fentanyl Derivative. | 1 | 41 | 3-Fluorofentanyl - Schedule I Fentanyl Derivative.
3-Fluoromethcathinone (3-FMC) - Schedule I Substituted Cathinone. | 1 | 42 | 3-Fluoromethcathinone (3-FMC) - Schedule I Substituted Cathinone.
3-Furanyl Fentanyl – Schedule I Fentanyl Derivative. | 1 | 43 | 3-Furanyl Fentanyl – Schedule I Fentanyl Derivative.
3-Methoxyphencyclidine (3-MeO-PCP) - Schedule I. | 1 | 44 | 3-Methoxyphencyclidine (3-MeO-PCP) - Schedule I.
3-Methylethcathinone (3-MEC) - Schedule I Substituted Cathinone. | 1 | 45 | 3-Methylethcathinone (3-MEC) - Schedule I Substituted Cathinone.
3-Methylmethcathinone (3-MMC) - Schedule I Substituted Cathinone. | 1 | 46 | 3-Methylmethcathinone (3-MMC) - Schedule I Substituted Cathinone.
4-bromo-2,5-dimethoxyamphetamine (DOB) - Schedule I. | 1 | 47 | 4-bromo-2,5-dimethoxyamphetamine (DOB) - Schedule I.
4-chloro Pentedrone (4-CPD) - Schedule I Substituted Cathinone. | 1 | 48 | 4-chloro Pentedrone (4-CPD) - Schedule I Substituted Cathinone.
4-chloro-alpha-PPP - Schedule I Substituted Cathinone. | 1 | 49 | 4-chloro-alpha-PPP - Schedule I Substituted Cathinone.
4-chloro-alpha-PVP - Schedule I Substituted Cathinone. | 1 | 50 | 4-chloro-alpha-PVP - Schedule I Substituted Cathinone.
4-Chloroethcathinone (4-CEC) - Schedule I Substituted Cathinone. | 1 | 51 | 4-Chloroethcathinone (4-CEC) - Schedule I Substituted Cathinone.
4-Chloromethcathinone (4-CMC; Clephedrone) - Schedule I Substituted Cathinone. | 1 | 52 | 4-Chloromethcathinone (4-CMC; Clephedrone) - Schedule I Substituted Cathinone.
4-cyano CUMYL-BUTINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 53 | 4-cyano CUMYL-BUTINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
4-Ethylmethcathinone (4-EMC) - Schedule I Substituted Cathinone. | 1 | 54 | 4-Ethylmethcathinone (4-EMC) - Schedule I Substituted Cathinone.
4-fluoromethcathinone (4-FMC; Flephedrone) - Schedule I Substituted Cathinone. | 1 | 55 | 4-fluoromethcathinone (4-FMC; Flephedrone) - Schedule I Substituted Cathinone.
4-fluoro-pyrrolidinohexanophenone (4-F-PHP) - Schedule I Substituted Cathinone. | 1 | 56 | 4-fluoro-pyrrolidinohexanophenone (4-F-PHP) - Schedule I Substituted Cathinone.
4-hydroxy-MET - Schedule I. | 1 | 57 | 4-hydroxy-MET - Schedule I.
4-methoxyamphetamine - Schedule I. | 1 | 58 | 4-methoxyamphetamine - Schedule I.
4-methyl Pentedrone (4-MPD) - Schedule I Substituted Cathinone. | 1 | 59 | 4-methyl Pentedrone (4-MPD) - Schedule I Substituted Cathinone.
4-methyl-alpha-ethylaminopentiophenone (4-MEAP) - Schedule I Substituted Cathinone. | 1 | 60 | 4-methyl-alpha-ethylaminopentiophenone (4-MEAP) - Schedule I Substituted Cathinone.
4-methyl-alpha-PHP (MPHP) - Schedule I Substituted Cathinone. | 1 | 61 | 4-methyl-alpha-PHP (MPHP) - Schedule I Substituted Cathinone.
4-methylethcathinone (4-MEC) - Schedule I Substituted Cathinone. | 1 | 62 | 4-methylethcathinone (4-MEC) - Schedule I Substituted Cathinone.
4-methyl-N,N-Dimethylcathinone - Schedule I Substituted Cathinone. | 1 | 63 | 4-methyl-N,N-Dimethylcathinone - Schedule I Substituted Cathinone.
4-methyl-N-ethylcathinone (4-MEC) - Schedule I Substituted Cathinone. | 1 | 64 | 4-methyl-N-ethylcathinone (4-MEC) - Schedule I Substituted Cathinone.
5-chloro AB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 65 | 5-chloro AB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro AB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 66 | 5-fluoro AB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro ADB, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 67 | 5-fluoro ADB, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro AMB, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 68 | 5-fluoro AMB, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro APP-PINACA (PX-2), an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 69 | 5-fluoro APP-PINACA (PX-2), an indazole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro EDMB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 70 | 5-fluoro EDMB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro MDMB-PICA, an indole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 71 | 5-fluoro MDMB-PICA, an indole carboxamide - Schedule I Synthetic Cannabinoid.
5-fluoro PB-22, an indole carboxylic acid - Schedule I Synthetic Cannabinoid. | 1 | 72 | 5-fluoro PB-22, an indole carboxylic acid - Schedule I Synthetic Cannabinoid.
5-fluoro-NNEI, an indole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 73 | 5-fluoro-NNEI, an indole carboxamide - Schedule I Synthetic Cannabinoid.
5-MeO-DIPT (5-Methoxy-N,N-diisopropyltryptamine; Foxy) - Schedule I. | 1 | 74 | 5-MeO-DIPT (5-Methoxy-N,N-diisopropyltryptamine; Foxy) - Schedule I.
5-MeO-MiPT (5-methoxy-N-methyl-N-isopropyltryptamine) - Schedule I. | 1 | 75 | 5-MeO-MiPT (5-methoxy-N-methyl-N-isopropyltryptamine) - Schedule I.
6-methoxy Methylone - Schedule I Substituted Cathinone. | 1 | 76 | 6-methoxy Methylone - Schedule I Substituted Cathinone.
A-796,260, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid. | 1 | 77 | A-796,260, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid.
AB-CHMICA, an indole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 78 | AB-CHMICA, an indole carboxamide - Schedule I Synthetic Cannabinoid.
AB-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 79 | AB-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
AB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 80 | AB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
AB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 81 | AB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
Acetyl Fentanyl - Schedule I. | 1 | 82 | Acetyl Fentanyl - Schedule I.
Acrylfentanyl - Schedule I Fentanyl Derivative. | 1 | 83 | Acrylfentanyl - Schedule I Fentanyl Derivative.
ADB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 84 | ADB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
ADB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 85 | ADB-PINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
AKB-48, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 86 | AKB-48, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
alpha-Methyltryptamine (AMT) - Schedule I. | 1 | 87 | alpha-Methyltryptamine (AMT) - Schedule I.
alpha-PBP (alpha-pyrrolidinobutiophenone) - Schedule I Substituted Cathinone. | 1 | 88 | alpha-PBP (alpha-pyrrolidinobutiophenone) - Schedule I Substituted Cathinone.
alpha-PHP (alpha-pyrrolidinohexanophenone) - Schedule I Substituted Cathinone. | 1 | 89 | alpha-PHP (alpha-pyrrolidinohexanophenone) - Schedule I Substituted Cathinone.
alpha-PHPP (PV8) - Schedule I Substituted Cathinone. | 1 | 90 | alpha-PHPP (PV8) - Schedule I Substituted Cathinone.
alpha-PiHP (alpha-pyrrolidinoisohexanophenone) - Schedule I Substituted Cathinone. | 1 | 91 | alpha-PiHP (alpha-pyrrolidinoisohexanophenone) - Schedule I Substituted Cathinone.
alpha-POP (PV9) - Schedule I Substituted Cathinone. | 1 | 92 | alpha-POP (PV9) - Schedule I Substituted Cathinone.
alpha-PPP (alpha-pyrrolidinopropiophenone) - Schedule I Substituted Cathinone. | 1 | 93 | alpha-PPP (alpha-pyrrolidinopropiophenone) - Schedule I Substituted Cathinone.
alpha-PVP (alpha-pyrrolidinopentiophenone) - Schedule I Substituted Cathinone. | 1 | 94 | alpha-PVP (alpha-pyrrolidinopentiophenone) - Schedule I Substituted Cathinone.
Alprazolam - Schedule IV. | 1 | 95 | Alprazolam - Schedule IV.
AM-1220, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 96 | AM-1220, a naphthoylindole - Schedule I Synthetic Cannabinoid.
AM-1248, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid. | 1 | 97 | AM-1248, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid.
AM-2201, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 98 | AM-2201, a naphthoylindole - Schedule I Synthetic Cannabinoid.
AM-2233, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid. | 1 | 99 | AM-2233, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid.
AM-694, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid. | 1 | 100 | AM-694, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid.
Amobarbital - Schedule II. | 1 | 101 | Amobarbital - Schedule II.
Amphetamine - Schedule II. | 1 | 102 | Amphetamine - Schedule II.
ANPP - Schedule II. | 1 | 103 | ANPP - Schedule II.
APP-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 104 | APP-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
Barbital - Schedule IV. | 1 | 105 | Barbital - Schedule IV.
Based on the total volume of the original liquid reported on the Request for Examination, Item X contained X grams of liquid containing: | 1 | 106 | Based on the total volume of the original liquid reported on the Request for Examination, Item X contained X grams of liquid containing:
Benzphetamine - Schedule III. | 1 | 107 | Benzphetamine - Schedule III.
beta-Hydroxythiofentanyl - Schedule I Fentanyl Derivative. | 1 | 108 | beta-Hydroxythiofentanyl - Schedule I Fentanyl Derivative.
Boldenone - Schedule III. | 1 | 109 | Boldenone - Schedule III.
Boldione - Schedule III. | 1 | 110 | Boldione - Schedule III.
Bromazepam - Schedule IV. | 1 | 111 | Bromazepam - Schedule IV.
Buphedrone (MABP) - Schedule I Substituted Cathinone. | 1 | 112 | Buphedrone (MABP) - Schedule I Substituted Cathinone.
Buprenorphine - Schedule III. | 1 | 113 | Buprenorphine - Schedule III.
Butylone (bk-MBDB) - Schedule I Substituted Cathinone. | 1 | 114 | Butylone (bk-MBDB) - Schedule I Substituted Cathinone.
Butyryl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 115 | Butyryl Fentanyl - Schedule I Fentanyl Derivative.
Carfentanil - Schedule II. | 1 | 116 | Carfentanil - Schedule II.
Carisoprodol - Schedule IV. | 1 | 117 | Carisoprodol - Schedule IV.
Cathine - Schedule IV. | 1 | 118 | Cathine - Schedule IV.
Cathinone - Schedule I. | 1 | 119 | Cathinone - Schedule I.
CB-13, a naphthoylnaphthalene - Schedule I Synthetic Cannabinoid. | 1 | 120 | CB-13, a naphthoylnaphthalene - Schedule I Synthetic Cannabinoid.
Chloral Hydrate - Schedule IV. | 1 | 121 | Chloral Hydrate - Schedule IV.
Chlordiazepoxide - Schedule IV. | 1 | 122 | Chlordiazepoxide - Schedule IV.
Clonazepam - Schedule IV. | 1 | 123 | Clonazepam - Schedule IV.
Clorazepate - Schedule IV. | 1 | 124 | Clorazepate - Schedule IV.
Cocaine - Schedule II. | 1 | 125 | Cocaine - Schedule II.
Codeine - Schedule II. | 1 | 126 | Codeine - Schedule II.
CP 47,497 C8 homolog, a cyclohexylphenol - Schedule I Synthetic Cannabinoid. | 1 | 127 | CP 47,497 C8 homolog, a cyclohexylphenol - Schedule I Synthetic Cannabinoid.
CP 47,497, a cyclohexylphenol - Schedule I Synthetic Cannabinoid. | 1 | 128 | CP 47,497, a cyclohexylphenol - Schedule I Synthetic Cannabinoid.
CP 55,940, a cyclohexylphenol - Schedule I Synthetic Cannabinoid. | 1 | 129 | CP 55,940, a cyclohexylphenol - Schedule I Synthetic Cannabinoid.
Crotonyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 130 | Crotonyl Fentanyl - Schedule I Fentanyl Derivative.
Cyclopropyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 131 | Cyclopropyl Fentanyl - Schedule I Fentanyl Derivative.
Delorazepam - Schedule IV. | 1 | 132 | Delorazepam - Schedule IV.
Deschloroketamine - Schedule I. | 1 | 133 | Deschloroketamine - Schedule I.
Despropionyl Fluorofentanyl - Schedule I Fentanyl Derivative. | 1 | 134 | Despropionyl Fluorofentanyl - Schedule I Fentanyl Derivative.
Despropionyl ortho-Fluorofentanyl (Despropionyl 2-FF) - Schedule I Fentanyl Derivative. | 1 | 135 | Despropionyl ortho-Fluorofentanyl (Despropionyl 2-FF) - Schedule I Fentanyl Derivative.
Dextropropoxyphene - Schedule IV. | 1 | 136 | Dextropropoxyphene - Schedule IV.
Diazepam - Schedule IV. | 1 | 137 | Diazepam - Schedule IV.
Dibutylone (bk-DMBDB) - Schedule I Substituted Cathinone. | 1 | 138 | Dibutylone (bk-DMBDB) - Schedule I Substituted Cathinone.
Diethylpropion - Schedule IV. | 1 | 139 | Diethylpropion - Schedule IV.
Dihydrocodeine - Schedule II. | 1 | 140 | Dihydrocodeine - Schedule II.
Dimethylone (bk-MDDMA) - Schedule I Substituted Cathinone. | 1 | 141 | Dimethylone (bk-MDDMA) - Schedule I Substituted Cathinone.
Dimethyltryptamine (DMT) - Schedule I. | 1 | 142 | Dimethyltryptamine (DMT) - Schedule I.
Dipentylone (bk-DMBDP) - Schedule I Substituted Cathinone. | 1 | 143 | Dipentylone (bk-DMBDP) - Schedule I Substituted Cathinone.
Diphenoxylate - Schedule II. | 1 | 144 | Diphenoxylate - Schedule II.
Drostanolone - Schedule III. | 1 | 145 | Drostanolone - Schedule III.
EMB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 146 | EMB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
Ephedrine - a DEA List I Chemical (21CFR1310.02) and an immediate precursor chemical in N.C.G.S. 90-95(d2). | 1 | 147 | Ephedrine - a DEA List I Chemical (21CFR1310.02) and an immediate precursor chemical in N.C.G.S. 90-95(d2).
Estazolam - Schedule IV. | 1 | 148 | Estazolam - Schedule IV.
Ethylmorphine - Schedule II. | 1 | 149 | Ethylmorphine - Schedule II.
Ethylone (bk-MDEA) - Schedule I Substituted Cathinone. | 1 | 150 | Ethylone (bk-MDEA) - Schedule I Substituted Cathinone.
Etizolam - Schedule I. | 1 | 151 | Etizolam - Schedule I.
Eutylone (bk-EBDB) - Schedule I Substituted Cathinone. | 1 | 152 | Eutylone (bk-EBDB) - Schedule I Substituted Cathinone.
Fenfluramine - Schedule IV. | 1 | 153 | Fenfluramine - Schedule IV.
Flunitrazepam - Schedule IV. | 1 | 154 | Flunitrazepam - Schedule IV.
Fluoxymesterone - Schedule III. | 1 | 155 | Fluoxymesterone - Schedule III.
Flurazepam - Schedule IV. | 1 | 156 | Flurazepam - Schedule IV.
FUB-144, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid. | 1 | 157 | FUB-144, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid.
FUB-AKB-48, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 158 | FUB-AKB-48, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
FUB-PB-22, an indole carboxylic acid - Schedule I Synthetic Cannabinoid. | 1 | 159 | FUB-PB-22, an indole carboxylic acid - Schedule I Synthetic Cannabinoid.
Furanyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 160 | Furanyl Fentanyl - Schedule I Fentanyl Derivative.
Gabapentin - a non-controlled substance. | 1 | 161 | Gabapentin - a non-controlled substance.
Gamma-hydroxybutyric acid (GHB) - Schedule I. | 1 | 162 | Gamma-hydroxybutyric acid (GHB) - Schedule I.
Hashish - Schedule VI. | 1 | 163 | Hashish - Schedule VI.
HU-210 - Schedule I Synthetic Cannabinoid. | 1 | 164 | HU-210 - Schedule I Synthetic Cannabinoid.
Hydrocodone - Schedule II. | 1 | 165 | Hydrocodone - Schedule II.
Hydromorphone - Schedule II. | 1 | 166 | Hydromorphone - Schedule II.
Ibogaine - Schedule I. | 1 | 167 | Ibogaine - Schedule I.
Insufficient Sample for Analysis. | 1 | 168 | Insufficient Sample for Analysis.
Isobutyryl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 169 | Isobutyryl Fentanyl - Schedule I Fentanyl Derivative.
JWH-015, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 170 | JWH-015, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-018, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 171 | JWH-018, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-019, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 172 | JWH-019, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-022, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 173 | JWH-022, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-073, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 174 | JWH-073, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-081, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 175 | JWH-081, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-122, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 176 | JWH-122, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-200, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 177 | JWH-200, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-201, an indole carboxaldehyde- Schedule I Synthetic Cannabinoid. | 1 | 178 | JWH-201, an indole carboxaldehyde- Schedule I Synthetic Cannabinoid.
JWH-203, a phenylacetylindole - Schedule I Synthetic Cannabinoid. | 1 | 179 | JWH-203, a phenylacetylindole - Schedule I Synthetic Cannabinoid.
JWH-210, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 180 | JWH-210, a naphthoylindole - Schedule I Synthetic Cannabinoid.
JWH-250, a phenylacetylindole - Schedule I Synthetic Cannabinoid. | 1 | 181 | JWH-250, a phenylacetylindole - Schedule I Synthetic Cannabinoid.
JWH-302, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid. | 1 | 182 | JWH-302, an indole carboxaldehyde - Schedule I Synthetic Cannabinoid.
JWH-307, a naphthoylpyrrole - Schedule I Synthetic Cannabinoid. | 1 | 183 | JWH-307, a naphthoylpyrrole - Schedule I Synthetic Cannabinoid.
JWH-398, a naphthoylindole - Schedule I Synthetic Cannabinoid. | 1 | 184 | JWH-398, a naphthoylindole - Schedule I Synthetic Cannabinoid.
Ketamine - Schedule III. | 1 | 185 | Ketamine - Schedule III.
Levomethorphan - Schedule II. | 1 | 186 | Levomethorphan - Schedule II.
Levorphanol - Schedule II. | 1 | 187 | Levorphanol - Schedule II.
Lisdexamfetamine - Schedule II. | 1 | 188 | Lisdexamfetamine - Schedule II.
Lorazepam - Schedule IV. | 1 | 189 | Lorazepam - Schedule IV.
Lysergic Acid Diethylamide (LSD) - Schedule I. | 1 | 190 | Lysergic Acid Diethylamide (LSD) - Schedule I.
MAB-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 191 | MAB-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
MA-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 192 | MA-CHMINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
Mazindol - Schedule IV. | 1 | 193 | Mazindol - Schedule IV.
MDMB-CHMICA, an indole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 194 | MDMB-CHMICA, an indole carboxamide - Schedule I Synthetic Cannabinoid.
MDMB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 195 | MDMB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
MEP-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 196 | MEP-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
Mephedrone (4-methylmethcathinone, 4-MMC) - Schedule I. | 1 | 197 | Mephedrone (4-methylmethcathinone, 4-MMC) - Schedule I.
Mephobarbital (methylphenobarbital) - Schedule IV. | 1 | 198 | Mephobarbital (methylphenobarbital) - Schedule IV.
Meprobamate - Schedule IV. | 1 | 199 | Meprobamate - Schedule IV.
Mescaline - Schedule I. | 1 | 200 | Mescaline - Schedule I.
meta-Fluorobutyryl Fentanyl (3-FBF) - Schedule I Fentanyl Derivative. | 1 | 201 | meta-Fluorobutyryl Fentanyl (3-FBF) - Schedule I Fentanyl Derivative.
meta-Fluoroisobutyryl Fentanyl (3-FIBF) - Schedule I Fentanyl Derivative. | 1 | 202 | meta-Fluoroisobutyryl Fentanyl (3-FIBF) - Schedule I Fentanyl Derivative.
meta-Methyl Acetyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 203 | meta-Methyl Acetyl Fentanyl - Schedule I Fentanyl Derivative.
Methadone - Schedule II. | 1 | 204 | Methadone - Schedule II.
Methandrostenolone - Schedule III. | 1 | 205 | Methandrostenolone - Schedule III.
Methaqualone - Schedule I. | 1 | 206 | Methaqualone - Schedule I.
Methasterone - Schedule III. | 1 | 207 | Methasterone - Schedule III.
Methcathinone - Schedule I. | 1 | 208 | Methcathinone - Schedule I.
Methedrone (4-methoxy-N-methylcathinone) - Schedule I Substituted Cathinone. | 1 | 209 | Methedrone (4-methoxy-N-methylcathinone) - Schedule I Substituted Cathinone.
Methoxetamine - Schedule I. | 1 | 210 | Methoxetamine - Schedule I.
Methoxyacetyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 211 | Methoxyacetyl Fentanyl - Schedule I Fentanyl Derivative.
Methylone (bk-MDMA) - Schedule I Substituted Cathinone. | 1 | 212 | Methylone (bk-MDMA) - Schedule I Substituted Cathinone.
Methylphenidate - Schedule II. | 1 | 213 | Methylphenidate - Schedule II.
Methyltestosterone - Schedule III. | 1 | 214 | Methyltestosterone - Schedule III.
Mexedrone - Schedule I Substituted Cathinone. | 1 | 215 | Mexedrone - Schedule I Substituted Cathinone.
Midazolam - Schedule IV. | 1 | 216 | Midazolam - Schedule IV.
MMB-CHMICA, an indole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 217 | MMB-CHMICA, an indole carboxamide - Schedule I Synthetic Cannabinoid.
MMB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 218 | MMB-FUBINACA, an indazole carboxamide - Schedule I Synthetic Cannabinoid.
MMMP (MTMP, 2-Methyl-1-(4-(methylthio)phenyl)-2-morpholinopropiopan-1-one) – Schedule I Substituted Cathinone. | 1 | 219 | MMMP (MTMP, 2-Methyl-1-(4-(methylthio)phenyl)-2-morpholinopropiopan-1-one) – Schedule I Substituted Cathinone.
Morphine - Schedule II. | 1 | 220 | Morphine - Schedule II.
N,N-diethylpentylone - Schedule I Substituted Cathinone. | 1 | 221 | N,N-diethylpentylone - Schedule I Substituted Cathinone.
N,N-dimethylamphetamine - Schedule I. | 1 | 222 | N,N-dimethylamphetamine - Schedule I.
Nandrolone decanoate - Schedule III. | 1 | 223 | Nandrolone decanoate - Schedule III.
N-benzyl Furanyl Norfentanyl - Schedule I Fentanyl Derivative. | 1 | 224 | N-benzyl Furanyl Norfentanyl - Schedule I Fentanyl Derivative.
N-benzylpiperazine (BZP) - Schedule I. | 1 | 225 | N-benzylpiperazine (BZP) - Schedule I.
N-ethyl Hexedrone - Schedule I Substituted Cathinone. | 1 | 226 | N-ethyl Hexedrone - Schedule I Substituted Cathinone.
N-ethyl Hexylone - Schedule I Substituted Cathinone. | 1 | 227 | N-ethyl Hexylone - Schedule I Substituted Cathinone.
N-ethylamphetamine - Schedule I. | 1 | 228 | N-ethylamphetamine - Schedule I.
N-ethylpentylone (Ephylone) - Schedule I Substituted Cathinone. | 1 | 229 | N-ethylpentylone (Ephylone) - Schedule I Substituted Cathinone.
N-hydroxy-3,4-methylenedioxyamphetamine (N-hydroxy MDA) - Schedule I. | 1 | 230 | N-hydroxy-3,4-methylenedioxyamphetamine (N-hydroxy MDA) - Schedule I.
Nitrazepam - Schedule IV. | 1 | 231 | Nitrazepam - Schedule IV.
NM2201, an indole carboxylic acid - Schedule I Synthetic Cannabinoid. | 1 | 232 | NM2201, an indole carboxylic acid - Schedule I Synthetic Cannabinoid.
N-methyl Norfentanyl - Schedule I Fentanyl Derivative. | 1 | 233 | N-methyl Norfentanyl - Schedule I Fentanyl Derivative.
Nordiazepam - Schedule IV. | 1 | 234 | Nordiazepam - Schedule IV.
ortho-Fluorobutyryl Fentanyl (2-FBF) - Schedule I Fentanyl Derivative. | 1 | 235 | ortho-Fluorobutyryl Fentanyl (2-FBF) - Schedule I Fentanyl Derivative.
ortho-Fluoroisobutyryl Fentanyl (2-FIBF) - Schedule I Fentanyl Derivative. | 1 | 236 | ortho-Fluoroisobutyryl Fentanyl (2-FIBF) - Schedule I Fentanyl Derivative.
ortho-Methyl Acetyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 237 | ortho-Methyl Acetyl Fentanyl - Schedule I Fentanyl Derivative.
Oxandrolone - Schedule III. | 1 | 238 | Oxandrolone - Schedule III.
Oxazepam - Schedule IV. | 1 | 239 | Oxazepam - Schedule IV.
Oxycodone - Schedule II. | 1 | 240 | Oxycodone - Schedule II.
Oxymesterone - Schedule III. | 1 | 241 | Oxymesterone - Schedule III.
Oxymetholone - Schedule III. | 1 | 242 | Oxymetholone - Schedule III.
Oxymorphone - Schedule II. | 1 | 243 | Oxymorphone - Schedule II.
Para-Fluorobutyryl Fentanyl (p-FBF; 4-FBF) - Schedule I Fentanyl Derivative. | 1 | 244 | Para-Fluorobutyryl Fentanyl (p-FBF; 4-FBF) - Schedule I Fentanyl Derivative.
para-Fluorofentanyl - Schedule I. | 1 | 245 | para-Fluorofentanyl - Schedule I.
Para-Fluoroisobutyryl Fentanyl (p-FIBF; 4-FIBF) - Schedule I Fentanyl Derivative. | 1 | 246 | Para-Fluoroisobutyryl Fentanyl (p-FIBF; 4-FIBF) - Schedule I Fentanyl Derivative.
para-Methyl Acetyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 247 | para-Methyl Acetyl Fentanyl - Schedule I Fentanyl Derivative.
PB-22, an indole carboxylic acid - Schedule I Synthetic Cannabinoid. | 1 | 248 | PB-22, an indole carboxylic acid - Schedule I Synthetic Cannabinoid.
Pentazocine - Schedule IV. | 1 | 249 | Pentazocine - Schedule IV.
Pentedrone - Schedule I Substituted Cathinone. | 1 | 250 | Pentedrone - Schedule I Substituted Cathinone.
Pentylone - Schedule I Substituted Cathinone. | 1 | 251 | Pentylone - Schedule I Substituted Cathinone.
Pethidine (Meperidine) - Schedule II. | 1 | 252 | Pethidine (Meperidine) - Schedule II.
Phenazepam - Schedule I. | 1 | 253 | Phenazepam - Schedule I.
Phencyclidine (PCP) - Schedule II. | 1 | 254 | Phencyclidine (PCP) - Schedule II.
Phendimetrazine - Schedule III. | 1 | 255 | Phendimetrazine - Schedule III.
Phenobarbital - Schedule IV. | 1 | 256 | Phenobarbital - Schedule IV.
Phentermine - Schedule IV. | 1 | 257 | Phentermine - Schedule IV.
Phenyl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 258 | Phenyl Fentanyl - Schedule I Fentanyl Derivative.
Phenylacetone (P2P) - Schedule II. | 1 | 259 | Phenylacetone (P2P) - Schedule II.
Pravadoline (WIN 48,098), a benzoylindole - Schedule I Synthetic Cannabinoid. | 1 | 260 | Pravadoline (WIN 48,098), a benzoylindole - Schedule I Synthetic Cannabinoid.
Prazepam - Schedule IV. | 1 | 261 | Prazepam - Schedule IV.
Pregabalin - Schedule V. | 1 | 262 | Pregabalin - Schedule V.
Pseudoephedrine - a DEA List I Chemical (21CFR1310.02) and an immediate precursor chemical in N.C.G.S. 90-95(d2). | 1 | 263 | Pseudoephedrine - a DEA List I Chemical (21CFR1310.02) and an immediate precursor chemical in N.C.G.S. 90-95(d2).
Psilocin - Schedule I. | 1 | 264 | Psilocin - Schedule I.
Pyrovalerone - Schedule V. | 1 | 265 | Pyrovalerone - Schedule V.
RCS-4, a benzoylindole - Schedule I Synthetic Cannabinoid. | 1 | 266 | RCS-4, a benzoylindole - Schedule I Synthetic Cannabinoid.
RCS-8, a phenylacetylindole - Schedule I Synthetic Cannabinoid. | 1 | 267 | RCS-8, a phenylacetylindole - Schedule I Synthetic Cannabinoid.
Resinous material containing tetrahydrocannabinol (THC) - Schedule VI. | 1 | 268 | Resinous material containing tetrahydrocannabinol (THC) - Schedule VI.
Secobarbital - Schedule II. | 1 | 269 | Secobarbital - Schedule II.
Sibutramine - Schedule IV. | 1 | 270 | Sibutramine - Schedule IV.
Stanolone - Schedule III. | 1 | 271 | Stanolone - Schedule III.
Stanozolol - Schedule III. | 1 | 272 | Stanozolol - Schedule III.
STS-135, an indole carboxamide - Schedule I Synthetic Cannabinoid. | 1 | 273 | STS-135, an indole carboxamide - Schedule I Synthetic Cannabinoid.
Tapentadol - Schedule II. | 1 | 274 | Tapentadol - Schedule II.
Temazepam - Schedule IV. | 1 | 275 | Temazepam - Schedule IV.
Testing indicated 3-{(1R,2R)-2-[(Dimethylamino)methyl]-1-hydroxycyclohexyl}-phenol (O-Desmethyltramadol), which is a non-controlled substance in North Carolina. Identification not confirmed. | 1 | 276 | Testing indicated 3-{(1R,2R)-2-[(Dimethylamino)methyl]-1-hydroxycyclohexyl}-phenol (O-Desmethyltramadol), which is a non-controlled substance in North Carolina. Identification not confirmed.
Testing indicated 5-fluoro-3,5-AB-PFUPPYCA, which is a non-controlled substance in North Carolina. Identification not confirmed. | 1 | 277 | Testing indicated 5-fluoro-3,5-AB-PFUPPYCA, which is a non-controlled substance in North Carolina. Identification not confirmed.
Testing indicated Clonazolam, which is a non-controlled substance in North Carolina. Identification not confirmed. | 1 | 278 | Testing indicated Clonazolam, which is a non-controlled substance in North Carolina. Identification not confirmed.
Testing indicated Flualprazolam, which is a non-controlled substance in North Carolina. Identification not confirmed. | 1 | 279 | Testing indicated Flualprazolam, which is a non-controlled substance in North Carolina. Identification not confirmed.
Testing indicated Flubromazolam, which is a non-controlled substance in North Carolina. Identification not confirmed. | 1 | 280 | Testing indicated Flubromazolam, which is a non-controlled substance in North Carolina. Identification not confirmed.
Testosterone - Schedule III. | 1 | 281 | Testosterone - Schedule III.
Testosterone Propionate - Schedule III. | 1 | 282 | Testosterone Propionate - Schedule III.
Tetrahydrocannabinol (THC) - Schedule VI. | 1 | 283 | Tetrahydrocannabinol (THC) - Schedule VI.
Tetrahydrofuran Fentanyl - Schedule I Fentanyl Derivative. | 1 | 284 | Tetrahydrofuran Fentanyl - Schedule I Fentanyl Derivative.
The analysis on Item(s) X has been terminated and the evidence is being returned because it does not meet Drug Chemistry Section submission guidelines. | 1 | 285 | The analysis on Item(s) X has been terminated and the evidence is being returned because it does not meet Drug Chemistry Section submission guidelines.
Thebaine - Schedule II. | 1 | 286 | Thebaine - Schedule II.
Tramadol - Schedule IV. | 1 | 287 | Tramadol - Schedule IV.
Trenbolone - Schedule III. | 1 | 288 | Trenbolone - Schedule III.
Triazolam - Schedule IV. | 1 | 289 | Triazolam - Schedule IV.
U-47700 - Schedule I. | 1 | 290 | U-47700 - Schedule I.
U-49900 - Schedule I. | 1 | 291 | U-49900 - Schedule I.
UR-144, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid. | 1 | 292 | UR-144, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid.
Valeryl Fentanyl - Schedule I Fentanyl Derivative. | 1 | 293 | Valeryl Fentanyl - Schedule I Fentanyl Derivative.
XLR-11, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid. | 1 | 294 | XLR-11, a 3-(cyclopropylmethanone) indole - Schedule I Synthetic Cannabinoid.
Zaleplon - Schedule IV. | 1 | 295 | Zaleplon - Schedule IV.
Zolpidem - Schedule IV. | 1 | 296 | Zolpidem - Schedule IV.
Zopiclone - Schedule IV. | 1 | 297 | Zopiclone - Schedule IV.

## PopulationTemplate (hidden)
Item
Packaging
Population Number:
Item description
Description
Description Style:

## Background (hidden)
Seal Status | Packaging | Color Tests | Results | Microcrystalline Test | Microcrystalline Results | Tablet ID | FTIR Methods | GCMS Methods | IR results | Run Solvent | GC-MS Results
Sealed | manila envelope(s) containing | Marquis | Orange | Gold Chloride in 20% Acetic Acid | Cocaine Crystals - Crosses | Drugs.com | Straight Scan | Straight | Cocaine Base | Methanol | Caffeine
Knotted | plastic bag corner(s) containing | Cobalt Thiocyanate | Purple | Hashish in CHCl3 | Cocaine Crystals - Modified Crosses | Micromedex | Subtraction | Separation of Organic Acids and Bases by Solvent Wash | Cocaine HCl | Chloroform | Cocaine
Zip-loc | plastic bag(s) containing | PDMAB | Blue | 5% Mercuric Chloride | Squares with diagonal markings | Internet | Separation of Organic Acids and Bases by Solvent Wash | Extraction of Organic Acids and Bases | Heroin HCl | Hexane | Fentanyl
Unsealed | plastic evidence bag(s) containing | Duquenois-Levine (Modified) | Fast blue | 50% Acetic Acid and Gold Chloride in 50% Acetic Acid | Cystolithic hairs | Drug ID Bible | Extraction of Organic Acids and Bases | Dry Solvent Extraction of Drugs Using Ammoniated Solvents | Hydrocodone base | Acetonitrile | Heroin
Heat-sealed | plastic ziploc bag(s) containing | Barium Chloride | Slow blue |  | No hairs observed |  | Dry Solvent Extraction of Drugs Using Ammoniated Solvents | Extraction of Psilocybe Mushrooms - Using Acetic Acid | Levamisole base | Ethyl Acetate | Artifacts
Twisted | glassine bag(s) containing | Chen-Kao Reagent | Violet/Blue, Transfers into Chloroform |  | Fans/Dendrites |  | Extraction of Psilocybe Mushrooms - Using Acetic Acid | Extraction of Psilocybe Mushrooms - Using Sodium Bicarbonate | Methamphetamine HCl | Methylene Chloride | Methamphetamine
Capped | box(es) containing | Cupric Sulfate | No significant reaction |  | Small, curved, irregular needles (at once) |  | Extraction of Psilocybe Mushrooms - Using Sodium Bicarbonate | Extraction of Anabolic Steroids from Vegetable Oils | Oxycodone base | Isopropyl Alcohol | No controlled substances identified
Clasped | capsule(s) containing | Ferric Chloride | Black |  | Large, straight needles (slow) |  | Extraction of Anabolic Steroids from Vegetable Oils | Separation of Cocaine Base and Diluents Utilizing Hexane/Water | Unidentified | Acetone | plus NC peaks
Factory-sealed | cardboard box(es) containing | Froehde | Brown |  | No significant reaction |  | Separation of Cocaine Base and Diluents Utilizing Hexane/Water | Separation of Cocaine Base Utilizing Potassium Permanganate | Acetaminophen |  | 4-ANPP
Flip-top | cellophane wrapper(s) containing | Koppanyi | Green |  | Dendrites |  | Separation of Cocaine Base Utilizing Potassium Permanganate |  | Aspirin |  | 5-Fluoro ADB
Folded | envelope(s) containing | Liebermann's | Pink | [5 empty] | Boric acid |  | Acetaminophen
Folded, rubber-banded | foil packet(s) containing | Mecke | Red | [5 empty] | Caffeine |  | Acryl fentanyl
Folded, taped | foil wrapper(s) containing | Potassium Permanganate | Salmon | [5 empty] | Clonazepam |  | Alprazolam
Glue-sealed | glass bottle(s) containing | Silver Nitrate | Violet | [5 empty] | Creatine |  | Amphetamine
Open | glass container(s) containing | Simon's Test (Modified Sodium Nitroprusside) | Yellow | [5 empty] | Diazepam |  | Buprenorphine
Rubber-banded | glass jar(s) containing | Zwikker | Yellow-Brown | [5 empty] | Dibutylone HCl (bk-DMBDB) |  | Butyryl fentanyl
Screw-top | glass smoking device(s) containing | [7 empty] | Dimethylsulfone |  | Clonazepam
Taped | glass vial(s) containing | [7 empty] | Ephedrine HCl |  | Codeine
Twist-tied | hand-rolled cigarette(s) containing | [7 empty] | Ethylone HCl (bk-MDEA) |  | Cyclopropyl fentanyl
Vacuum-sealed | metal container(s) containing | [7 empty] | Fentanyl HCl |  | Diazepam
Zipped | metal keychain vial(s) containing | [7 empty] | Heroin base |  | Dimethylsulfone
| metal smoking device(s) containing | [7 empty] | Inositol |  | Diphenhydramine
| mirror(s) containing | [7 empty] | Lactose |  | Ephedrine
| paper bag(s) containing | [7 empty] | Levamisole HCl |  | Etizolam
| paper packet(s) containing | [7 empty] | Mannitol |  | Furanyl fentanyl
| paper(s) containing | [7 empty] | MDA |  | Lidocaine
| partial plastic straw(s) containing | [7 empty] | MDMA |  | LSD
| pill bottle(s) containing | [7 empty] | Methadone HCl |  | MDA
| plastic bottle(s) containing | [7 empty] | Morphine base |  | MDMA
| plastic container(s) containing | [7 empty] | N-ethylpentylone HCl |  | Methoxyacetyl fentanyl
| plastic jar(s) containing | [7 empty] | Oxymorphone base |  | Methylphenidate
| plastic shopping bag(s) containing | [7 empty] | Palmitic acid |  | Morphine
| plastic straw(s) containing | [7 empty] | Phenacetin |  | Naloxone
| plastic vial(s) containing | [7 empty] | Polyethylene glycol (PEG) |  | N-ethylpentylone
| plastic wrapped brick(s) containing | [7 empty] | Pseudoephedrine HCl |  | Noscapine
| plate(s) containing | [7 empty] | Quinine HCl |  | Oxycodone
| prescription bottle(s) containing | [7 empty] | Sodium bicarbonate |  | Oxymorphone
| scale(s) containing | [7 empty] | Starch |  | Papaverine
| silicone rubber jar(s) containing | [7 empty] | Stearic acid |  | PCC
| vaporizer cartridge(s) containing | [7 empty] | Sucrose |  | PCP
| white envelope(s) containing | [7 empty] | Tramadol |  | p-FIBF
[9 empty] | U-47700 HCl |  | Palmitic acid
Procaine
Pseudoephedrine
Psilocin
Quinine
Stearic acid
THC
Tramadol
U-47700

## Info Page
North Carolina State Crime Laboratory Drug Chemistry Section
|  | Date Started: | 2019-07-23
Case #: |  | Date Completed: | 2019-07-23
Analyst:
Item #
Description
Results