Drug Chemistry Training Checklist

| Chemistry Technician Trainee Name |  | Hire Date |  |
| --- | --- | --- | --- |

| Subject/Task | TRN Coordinator Initials/Date | Chem Tech Trainee Initials/Date | Date Completed/ Comments |
| --- | --- | --- | --- |
| Orientation/Introduction (~ 1 week) - Complete Section orientation/DOJ orientation - Review all Lab-Wide and Section Policies and Procedures - Learn to navigate Network Drives and the Laboratory’s SharePoint site - Participate in a guided tour of Evidence Control to gain an understanding of the following: - Procedure for Evidence Management and Policy and Procedure for Evidence Submissions - Triage/Case acceptance and Prioritization - Review the Kanban process for inventory control and the ordering process |  |  |  |
| Introduction to Forensic Advantage (FA) (~1 week) - Review the Procedure for Use of FA and the Procedure for Stop Work Orders - Demonstrate ability to process a stop work order - Learn to navigate Resource Manager for the following: - Standards - Reagents - Balances - Weights - Instruments |  |  |  |
| Standards (~1 week) - Review the Technical Procedure for Drug Chemistry Analysis and the Technical Procedure for Preliminary Color Tests - Review the training Procedure for Standards and Preliminary Color Tests - Review the Administrative Procedure for Quality Assurance - Review the protocol regarding certified/training standards - Receive a personal set of standards to use for quality control checks |  |  |  |
| Reagents (~1 week) - Review Safety Protocols and perform routine safety maintenance - Demonstrate independent ability to make color test reagents to include but not limited to: - Marquis - Cobalt Thiocyanate - Modified Duquenois-Levine - Gold Chloride - Perform QC Checks and record in Forensic Advantage - Complete Basket Exercise # 1 |  |  |  |
| Balances/Weights (~ 1 week) - Review the Technical Procedure for Balances, the Procedure for Measurement Assurance, the Procedure for Procurement and Receipt, and the Procedure for Equipment Calibration and Maintenance - Review the training procedure for Balances - Review the following with the current balance coordinator: - Applicable Vendors – both yearly calibration vendors (e.g. BioTek) as well as maintenance vendors (e.g. Troemner, LLC) - Weights - Operations - Measurement Assurance requirements, etc. - Demonstrate the ability to properly perform all necessary QC checks for all balances |  |  |  |
| Instrumentation (~2 weeks) - Review the Technical Procedures for IR, Microscopy, and GC-MS - Review the training procedures for IR, Microscopy, and GC-MS - Review instrument/equipment operations for: - FTIR - Microscopes - GC-MS - Demonstrate the ability to properly perform all preventative/post maintenance and repair check on all instrumentation - Complete Basket Exercise # 2 (Includes Balances/Weights and Instrumentation) |  |  |  |
| Mock Trial/Round Table regarding Chain of Custody/Transfer of Evidence (~1 week) *Note: this module is only required to be completed if evidence handling duties will be performed by Technician - Review the procedures for Evidence Management, Policy and Procedure for Evidence Submissions, Use of FA, and Stop Work Orders - Review Drug Chemistry Quality Assurance - Review the training procedure for Notetaking - Complete Basket Exercise # 3 (Evidence Handling/Batching) - Complete Evidence Written Exam #1 (regarding evidence handling) - Successfully complete a mock trial involving evidence handling. |  |  |  |

| - Prepare a Statement of Qualifications (Curriculum Vitae, CV) |  |  |  |
| --- | --- | --- | --- |

| Chemistry Technician Trainee Signature |  | Date |
| --- | --- | --- |
| Training Coordinator Signature |  | Date |

**Note: these modules of training can be signed off in any order (not including the mock trial/round table module)