| Item # |  |  |
| --- | --- | --- |
| Description |  |  |
| GSR # |  |  |
| Packaging: |  |  |

Kit paperwork:

| Present |  | Absent |  | N/A |  |
| --- | --- | --- | --- | --- | --- |

Swabs:

| Present |  | Soiled |  | Not Visibly Soiled |  | One Swab Only |  | Blood-like material |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | CC Swabbing |  | CC submitted |  | Contaminated Control |  | Other: |  |
| Absent |  |
| N/A |  |

Adhesive lifts:

| Carbon |  | Tape |  | Other: |  |
| --- | --- | --- | --- | --- | --- |
| Absent |  |
| N/A |  |

Notes:

Analysis:

| No analysis |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ICP/MS (QC passed) – ____ Threshold Guidelines: Ba 0.200ppm, Sb 0.030ppm, Pb 0.300 ppm |  |  | Analysis Finished |  | SEM/EDS Required |  |  |  | N/A |  |  |
| SEM/EDS |  |  | GSR particle ID |  |  |  | No Characteristic GSR ID |  |  |  |  |